{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Cameras","Servers"],"read":"whole","date_system":"1900"}

{"sheet":"Cameras","index":0,"n_rows":4,"n_cols":18,"rows_kept":4,"merged":[[1,6,1,9],[1,10,1,13],[1,14,1,17]]}
[]
[{"$nulls":6},"Input",{"$nulls":3},"Output 1",{"$nulls":3},"Output2"]
[null,"Camera ID","Server","Server Type",null,null,"Caption","Category","Action","VideoInput","Category","Caption","GeviScope alias","PTZ head","Category","Caption","G-Core alias","PTZ head"]
[null,101030,"gscope-cdu-1","G-Core",{"$f":"B4","v":101030},null,{"$f":"CONCATENATE(\"GeVi \",I4,\"_\",E4)","v":"GeVi PanLeft_101030"},"Telemetry","PanLeft",{"$f":"E4","v":101030},"GSC: Camera Control",{"$f":"CONCATENATE(\"GSC \",I4,IF(D4=\"G-Core\",\"\",CONCATENATE(\"_\",B4)))","v":"GSC PanLeft"},{"$f":"IF(D4=\"G-Core\",\"\",C4)","v":""},{"$f":"IF(D4=\"G-Core\",\"\",B4)","v":""},"G-Core: Camera control",{"$f":"CONCATENATE(\"GNG \",I4,IF(D4=\"G-Core\",CONCATENATE(\"_\",E4),\"\"))","v":"GNG PanLeft_101030"},{"$f":"IF(D4=\"G-Core\",C4,\"\")","v":"gscope-cdu-1"},{"$f":"IF(D4=\"G-Core\",B4,\"\")","v":101030}]

{"sheet":"Servers","index":1,"n_rows":85,"n_cols":6,"rows_kept":85}
[]
[null,"Hostname","Typ","IP server","Username","Password"]
[null,"TSK_JS_I","GeViScope","10.240.30.31","sysadmin","masterkey"]
[null,"TSK_JS_III","GeViScope","10.240.30.33","sysadmin","masterkey"]
[null,"TSK_JS_IV","GeViScope","10.240.30.34","sysadmin","masterkey"]
[null,"TSK_JS_V","GeViScope","10.240.30.35","sysadmin","masterkey"]
[null,"TSK_JS_VI","GeViScope","10.240.30.36","sysadmin","masterkey"]
[null,"GCE-BL-TGC1A1","G-Core","10.240.37.61","sysadmin","masterkey"]
[null,"GCE-BL-TGC1A2","G-Core","10.240.37.62","sysadmin","masterkey"]
[null,"GCE-BL-TGC1B3","G-Core","10.240.37.63","sysadmin","masterkey"]
[null,"GCE-BL-TGC1B4","G-Core","10.240.37.64","sysadmin","masterkey"]
[null,"GCE-BL-TGC3A5","G-Core","10.240.37.65","sysadmin","masterkey"]
[null,"GCE-BL-TGC3A6","G-Core","10.240.37.66","sysadmin","masterkey"]
[null,"GCE-BL-TGC3A7","G-Core","10.240.37.67","sysadmin","masterkey"]
[null,"GCE-BL-TGC3A8","G-Core","10.240.37.68","sysadmin","masterkey"]
[null,"GCE-BL-TGC3B9","G-Core","10.240.37.69","sysadmin","masterkey"]
[null,"GCE-BL-TGC3B10","G-Core","10.240.37.70","sysadmin","masterkey"]
[null,"GCE-BL-TGC3B11","G-Core","10.240.37.71","sysadmin","masterkey"]
[null,"GCE-BL-TGC3B12","G-Core","10.240.37.72","sysadmin","masterkey"]
[null,"GCE-BL-TGC1FR","G-Core","10.240.37.73","sysadmin","masterkey"]
[null,"GCE-BL-TGC3AFR","G-Core","10.240.37.74","sysadmin","masterkey"]
[null,"GCE-BL-TGC3BFR","G-Core","10.240.37.75","sysadmin","masterkey"]
[null,"GSCOPE-DC5-1","G-Core","10.240.140.21","sysadmin","masterkey"]
[null,"GSCOPE-DC5-2","G-Core","10.240.140.22","sysadmin","masterkey"]
[null,"GSCOPE-DC5-3","G-Core","10.240.140.23","sysadmin","masterkey"]
[null,"GSCOPE-DC5-4","G-Core","10.240.140.24","sysadmin","masterkey"]
[null,"GSCOPE-DC5-5","G-Core","10.240.140.25","sysadmin","masterkey"]
[null,"GSCOPE-DC5-6","G-Core","10.240.140.26","sysadmin","masterkey"]
[null,"GSCOPE-DC5-7","G-Core","10.240.140.27","sysadmin","masterkey"]
[null,"GSCOPE-DC5-8","G-Core","10.240.140.28","sysadmin","masterkey"]
[null,"G-SCOPE-PI-FLORENC","G-Core","10.240.1.33","sysadmin","masterkey"]
[null,"GSCOPE-P6-9","G-Core","10.240.6.39","sysadmin","masterkey"]
[null,"GSCOPE-PII-8","G-Core","10.240.2.38","sysadmin","masterkey"]
[null,"GSCOPE-PI-6-M","G-Core","10.240.1.43","sysadmin","masterkey"]
[null,"GSCOPE-PIII-13","G-Core","10.240.3.43","sysadmin","masterkey"]
[null,"GSCOPE-PIV-11","G-Core","10.240.4.41","sysadmin","masterkey"]
[null,"GSC-HN-1","GeViScope","10.240.1.31","sysadmin","masterkey"]
[null,"GSC-HN-2","GeViScope","10.240.1.32","sysadmin","masterkey"]
[null,"GSC - Praha 6 - 1","GeViScope","10.240.6.31","sysadmin","masterkey"]
[null,"GSC - Praha 6 - 2","GeViScope","10.240.6.32","sysadmin","masterkey"]
[null,"GSC - Praha 6 - 3","GeViScope","10.240.6.33","sysadmin","masterkey"]
[null,"GSC - Praha 6 - 8","GeViScope","10.240.6.38","sysadmin","masterkey"]
[null,"GSC-PI-SE","GeViScope","10.240.1.41","sysadmin","masterkey"]
[null,"GSC - PI - Karlův most","GeViScope","10.240.1.36","sysadmin","masterkey"]
[null,"GSC - Praha II - 1","GeViScope","10.240.2.31","sysadmin","masterkey"]
[null,"GSC - Praha II - 4","GeViScope","10.240.2.34","sysadmin","masterkey"]
[null,"GSC - Praha II - 7","GeViScope","10.240.2.37","sysadmin","masterkey"]
[null,"GSC - Praha III - 1","GeViScope","10.240.3.31","sysadmin","masterkey"]
[null,"GSC - Praha III - 10","GeViScope","10.240.3.40","sysadmin","masterkey"]
[null,"GSC - Praha III - 11","GeViScope","10.240.3.41","sysadmin","masterkey"]
[null,"GSC - Praha III - 3","GeViScope","10.240.3.33","sysadmin","masterkey"]
[null,"GSC - Praha III - 5","GeViScope","10.240.3.35","sysadmin","masterkey"]
[null,"GSC - Praha III - 8","GeViScope","10.240.3.38","sysadmin","masterkey"]
[null,"GSC - Praha IV - 1","GeViScope","10.240.4.31","sysadmin","masterkey"]
[null,"GSC - Praha IV - 2","GeViScope","10.240.4.32","sysadmin","masterkey"]
[null,"GSC - Praha IV - 5","GeViScope","10.240.4.35","sysadmin","masterkey"]
[null,"GSC - Praha IV - 9","GeViScope","10.240.4.39","sysadmin","masterkey"]
[null,"GSC - UMR - 1 ","GeViScope","10.240.34.31","sysadmin","masterkey"]
[null,"GSC - UMR - 2","GeViScope","10.240.34.32","sysadmin","masterkey"]
[null,"gscope-cdu-1","G-Core","10.240.130.79","sysadmin","masterkey"]
[null,"gscope-cdu-2","G-Core","10.240.130.80","sysadmin","masterkey"]
[null,"gscope-cdu-3","G-Core","10.240.130.81","sysadmin","masterkey"]
[null,"GST - CDU - 11","GeViScope","10.240.130.61","sysadmin","masterkey"]
[null,"GST - CDU - 12","GeViScope","10.240.130.62","sysadmin","masterkey"]
[null,"GST - CDU - 13","GeViScope","10.240.130.63","sysadmin","masterkey"]
[null,"GST - CDU - 14","GeViScope","10.240.130.64","sysadmin","masterkey"]
[null,"GST - CDU - 7","GeViScope","10.240.130.57","sysadmin","masterkey"]
[null,"GST - CDU - 8","GeViScope","10.240.130.58","sysadmin","masterkey"]
[null,"TSK_OPD1_1","GeViScope","10.240.41.21","sysadmin","masterkey"]
[null,"TSK_OPD1_2","GeViScope","10.240.41.22","sysadmin","masterkey"]
[null,"TSK_OPD1_3","GeViScope","10.240.41.23","sysadmin","masterkey"]
[null,"TSK_OPD1_4","GeViScope","10.240.41.24","sysadmin","masterkey"]
[null,"TSK_OPD4_1","GeViScope","10.240.30.37","sysadmin","masterkey"]
[null,"TSK_OPD4_2","GeViScope","10.240.30.38","sysadmin","masterkey"]
[null,"TSK_OPD4_3","GeViScope","10.240.30.39","sysadmin","masterkey"]
[null,"TSK_GST_11","G-Core","10.240.30.40","sysadmin","masterkey"]
[null,"GST-ATM","G-Core","10.240.38.41","sysadmin","masterkey"]
[null,"GST-HDRU-1","G-Core","10.240.46.41","sysadmin","masterkey"]
[null,"GST-HDRU-2","G-Core","10.240.46.42","sysadmin","masterkey"]
[null,"GST-LAT","G-Core","10.240.54.61","sysadmin","masterkey"]
[null,"GST-ODRU","G-Core","10.240.38.61","sysadmin","masterkey"]
[null,"GST-SAT-1","G-Core","10.240.39.41","sysadmin","masterkey"]
[null,"GST-SAT-2","G-Core","10.240.39.42","sysadmin","masterkey"]
[null,"GST-TAT","G-Core","10.240.53.21","sysadmin","masterkey"]
[null,"GST-ZAT","G-Core","10.240.38.81","sysadmin","masterkey"]